## Slide 1
Horace 4 issues from user experience and Horace 4.1 highlights
Fully fledged filebacked objects (almost)
hor_config with properties:
mem_chunk_size: 10000000
fb_scale_factor: 10
ss = sqw()
0-dimensional object:
-------------------------
.
.
Extent of data:
Number of spe files: 0
Number of pixels: 1
.
.
Object is: memory based
ss = sqw('Fe_ei800_align.sqw’)
4-dimensional object:
-------------------------
.
.
Extent of data:
Number of spe files: 186
Number of pixels: 1286313318
.
.
Object is: filebacked
Filebacked if:
Number of pixels > mem_chunk_size*fb_scale_factor

## Slide 2
Horace 4 issues from user experience and Horace 4.1 highlights
Filebacked objects: tip and tricks:
sq_obj = sqw('Fe_ei800_align.sqw’);
w2a = cut(sq_obj,proj,….);
w2b = cut(sq_obj,proj,….);
Filebacked if:
Number of pixels > mem_chunk_size*fb_scale_factor
sq_file = 'Fe_ei800_align.sqw’;
w2a = cut(sq_file,proj,….);
w2b = cut(sq_file,proj,….);
faster
If cut result is filebacked it will disappear with object
save(w2a,’file_with_sqw.sqw’)
save(’file_with_sqw.mat’,’w2a’)

## Slide 3
Horace 4 issues from user experience and Horace 4.1 highlights
Data Diagnostics: Instrument view cut
Normally Horace works with scattering function build in reciprocal coordinate system related to a crystal.
If sample is not sufficiently large to allow neutrons thermalization or instrument have various problems with
its detectors or background scattering, some scattering artefacts may add noise or unrelated signals to
measured function. These artefacts will have spherical symmetry around the beam direction.
To clearly identify such artefacts one may use instrument_view_cut
https://abuts.github.io/Horace/v4.1.0/manual/Data_diagnostics.html#instrument-view-cut
Full SQW object operation

## Slide 4
Horace 4 issues from user experience and Horace 4.1 highlights
Horace Instrument view cut – Mantid instrument view with difference
wout = instrument_view_cut(sqw_source,[0,theta_step,theta_max],[En_min,En_step,En_max]);

## Slide 5
Horace 4 issues from user experience and Horace 4.1 highlights
Horace Instrument view cut – Mantid instrument view with difference